July 28, 2026

Certificate of Conformance

We hereby certify that the Waterproof Thermocouple probe thermometer, Taylor Model 9405, was manufactured, calibrated and inspected to meet design requirements.  Accuracy of this instrument, when used in the manner for which it was intended is:

-40 to 270°F = ±1°F  		-40 to 132°C = ±1°C

270° to 500°F = ±3°F		132° to 260°C = ±2°C

Above 500°F/260°C = ±1% of reading.

Mike Manion

Project Engineer